RANDALL HOUSE

PRELIMINARY REPORT

CHARACTER DEFINING BUILDING ELEMENTS AND CONDITIONS REPORT

OBSERVATIONS AND RECOMMENDATIONS

By Eric Krause

Krause House Info-Research Solutions

www.krausehouse.ca/krause/

November 27, 2008

---- To See or To Save Enlarged Versions of Images, 
Save the Document, Stay On the Web, Open the Saved Document, 
and Follow the Hyperlinks ----

[Images will load slowly]

Preface

On Thursday, September 18 to September 20, 2008, I visited the Randall House to undertake an investigation. Accompanying me was Lynda Krause, research transcript assistant.  Our arrival was in response to a July 7 2008 invitation from the Wolfville Historical Society. Greeting us was Bonnie Elliott, Curator, who cheerfully provided us with invaluable help whenever requested of her.

One of the major goals of the Society is to produce a long-term “Strategic Heritage Conservation Plan.” In it, no doubt will be references to the excellent recommendations of an earlier conservation report of March 1996 undertaken by Jost Architects Ltd. As a condition report, it assessed physical elements in visible peril, and offered up some advice for their protection. Many of their recommendations were subsequently implemented.

However, a strategic conservation plan that does not first reference character defining building elements is really putting the cart before the horse. Condition reports are invaluable within the context of the immediate moment, but without an intimate knowledge of the building’s structural chronology, irretractable or expensive actions that occur may later be second-guessed.

The basis of this present report, which draws upon my research undertakings of both 2007 and 2008 are three preliminary check lists. They are on-going and updatable in that they are based on subsequent visits or research findings. Their short titles are:

- A Preliminary Historical Check List of Character Defining Building Elements, Structural and Architectural: Main House

- A Preliminary Chronological Check List of Upgrades and Repairs

- Condition Report: A Preliminary Check List of Conservation Observations and Recommendations

As expected - which is in the nature of any on-going research project - each check list has raised additional issues will which need further trips to resolve or confirm. However, in total, they are populated with sufficient elements, upgrades, repairs, and condition observations to provide the Society with a preliminary roadmap for the design of a comprehensive conservation plan.

My next visit to the Randall House will concentrate on producing a Preliminary Historical Structural and Architectural Report. It will identify most, if not all of the character defining building elements of both the Main House and South Ell. It may also refine those elements listed below when pending questions outlined in the several check lists noted above are better fleshed out.

This report includes but some of the many photos taken for research purposes. Please open the thumbnails to see an enlarged version.

--------------------------------------------------------------------------------------------------------

Some Examples of Character Defining Building Elements Worthy of Protection - The Main House

Exterior

The character defining building elements which are listed below are but some of those physical elements (materials, features, structural, and their details), whether apparent or hidden, that are important in defining the overall heritage value of historic Randall House as a colonial to Georgian house (1700 - 1830). Elements of a later date, also worthy of preservation, exist as well, but are not listed here. They will be in the historical report previously mentioned. Thus elements not listed below ought not to be considered elements to be destroyed or replaced prior to the issue of any in-depth historical structural report on the building.

- Architectural Style

The Randall House displays the appropriate layout and rectangular symmetry of a 2-1/2 storey Colonial to Georgian (1700 - 1830) house (this style, when with added detail, is known in Canada as Neo-Classical (1820-1860), or in the USA as "Adams Federal" (1780s - 1820s), or simply Federal). The Randall House has four rooms on each of the two main living levels, that is, "four over four," each accessed by a central hallway and its stairwell. It also has two interior brick chimneys, built appropriately near but not at each of the gabled outer ends.

Up front, its corner boards are recessed single panelled pilasters on a tall plinth, with a capital consisting of a frieze, back-band and shelf. Less embellished are the corner boards at the rear of the building. [Images will load slowly]

Non-embellished ground and above windows are double-hung, "six over six." The applied back bands (Ogee) and drip caps of the windows are simple. The windows are aligned with the upper storey ones (five across) set very close to roof eaves built with a minimal overhang, with a trace of a bell cast in its slope. Below, there is the requisite centered entranceway and portico. [Images will load slowly]

That an earlier building grew into this one, or that this building underwent any profound construction modifications is not evident. Changes did occur, however, and are generally observable.

-------------------

- Portico

In the 1930s, Clara Dennis photographed a house which the Nova Scotia Archives has identified as the “DeWolfe House, Wolfville, NS”. It is remarkably similar to the Randall House. Here, seen on a small internet version of the Dennis photograph is a Georgian portico covered the centered entranceway with two upfront (and perhaps two rear columns) capped by a pediment that covered the doorway.

The present portico of the Randall House is a c. 1947 replacement feature. It is neo-classical in that the porch utilizes classical detailing as a form of decoration. Here, in this instance, the portico has pilasters (front and back, with differing paired capitals) instead of columns holding up a broken pediment. Up front, the plinth is short; in the rear it is tall.

-------------------

- Central Entranceway

In the same Dennis photograph, the doorway was apparently framed by two columns. Just beyond, to either side of the columns, were large side-lites (4 each) reaching down to the lower rail of the panelled door, but above the door there was perhaps no transom.

A possible later upgrade, today’s Randall House entranceway is relatively centered. It is simple and unadorned, with a panelled door, and a rectangular transom (10 lites) and side-lites (10 each) with glass panes relatively larger than expected in neo-classical. To each side of the side-lites stands a pilaster. [Images will load slowly]

-------------------

- Heavy Timber Frame

The timber ground sills of the main house rest upon a masonry foundation.  Above it, however, the exact structural framing design of the exterior perimeter walls is yet to be totally understood.  Still, the range of exposed Basement, Second, and Attic Floor framing suggests the heavy timber (perhaps braced) technology that is typical of the 18th and early 19th centuries.

Most enlightening is the First (ground) Floor framing system. Here is an eastern main girt and a western main girt. Each is approximately 29 feet in length and runs north-south. Each extends the entire depth of the house, ground-sill to ground-sill. Normally considered cellar (or first floor chimney) girts, in this house they define the central passageway that contains the main stairwell. Whether they originally received vertical support from below remains a moot point.

In turn, to either side of the east and west chimney bases, is a northern “summer” beam and a southern “summer” beam. Each runs east-west. They extend from ground-sill to main girt.

Each” summer” in turn collects the majority of the flooring joists. They run north-south and extend from “summer” to ground-sill. Consequently, the flooring boards, which cross these joists, run east-west.

Beneath the central passageway, and where required, the main girts also collect flooring joists. These run east-west and extend between the two main girts. Consequently, the flooring boards run north-south.

Although the same system no doubt exist for the Second Floor, given that here the flooring board pattern replicates itself exactly, the Attic Floor framing apparently differs. On the top floor, all the flooring boards run north-south, unexpectedly perpendicular to the roof rafters.

Within the building, a defined wall expected of the Georgian period, separating the front rooms from the rear, does not run parallel to the roof ridge. [Image will load slowly]

The Randall House   has a number of apparent corner and intermediate posts visibly cased-in with vertical boards. In this period, they are not unexpected within the rooms of a  building of this type: For example, The Martin House Farm (1715), Swansea, Massachusetts; "Anderton's Desire" (c. 1783 or earlier), East New Market, Dorchester County, Maryland ; or The Koch-Solomon House (mid-1700s), Lunenburg, Nova Scotia. In post-colonial constructions they appear too, such as in the 1820's addition to the Zachariah “Zack” Talley House, Sumner County, Tennessee.

Exposed corner posts also appear in transitional timber framing that found its way, for example, between 1780 and 1850, into Vermont. Here builders wished to replace the traditional larger intermediate posts between the corner posts with smaller posts, like dimensional 2 x 4's. Naturally, if the smaller posts lined up with the exterior face of the corner posts, they would not line up with the interior face.

If a builder then finished off his interior walls between, rather than against, the corner posts, these posts might remain exposed. The builder perhaps then added a decorative bead for example, or not. Otherwise, he might box them with boards, with or without a decorative finish.

However, the fact that several cased “posts” in the Randall House have quarter-round beading facing into the room, that even more have no beading at all, and that two have apparently gone missing, suggest that these casings are decorative and not hiding a functioning framing member.

Not expected are two odd wall jogs, one in the south- west corner and one in the south-east corner of a room, to either side of a fireplace.

-------------------

- Roof Rafters

Within the Attic, the rafters are half-dovetailed, mortised and tenoned to collars. [Images will load slowly]

Assembled they are without a ridge beam.

-------------------

- Boxed Eaves

Exaggerating the true impression of the existing boxed eaves is the design of the modern rain gutters.

-------------------

- Wall Sheathing, Clapboards, and Roofing Sheathing

In the Attic portion of the gable ends, and perhaps on all of the building’s exterior walls, the sheathing boards have tightly bevelled, flush joints. [Image will load slowly]

This joinery, when the boards were left exposed as a final wall finish (for example, in early 18th-century colonial Louisbourg), proved relatively weather-proof. Even more robust were they when covered afterwards by clapboards or shingles (at assorted colonial New England locations.) Additionally, they served at Louisbourg beneath both shingled and slated roofs.

The sawn clapboards of the house are tapered (feather-edge) along their top lengths. They are without any decorative finish along their lower edge (butt). Running into the corner boards, they are nailed across their face, but their large headed nails are not readily apparent. [Image will load slowly]

-------------------

- Chimney Masses and Perimeter Foundations

Both chimney masses are of roughly-laid rubble stone, perhaps originally laid either dry or with a clay- or lime-based mortar, without any pointing.

In contrast, where the exterior top of the rough perimeter foundations are visible, it consists of more carefully laid, mortared bricks.

-------------------

Interior

-------------------

- Basement Fireplace Bases

The east and west bases are constructed of rubble stone reinforced with interlocked wooden beams reminiscent of crib-work. For sure, a random beam laid here or there to bond such work (whether laid in a lime- or earth-based mortar) was not uncommon in the 18th-century. However, the as- found system is a most unusual defining element.

More usual is the servicing of floor-above fireplaces with below- floor hearth cradles. [Image will load slowly]

They are quite defining of 18th-century buildings elsewhere.

-------------------

- Fireplace Chimneypieces

The existing wooden fireplace chimneypieces - excepting for that of one room - all play off the same theme: flattened columns (pilasters) upon the legs, with block feet, raised end tablets, and a crown supported, moulded mantle shelf.

They may be remarkably similar to the one in the parlour of the T.A.S. DeWolf House (Wolfville). [Images will load slowly]

Only the embellishments differed.

The kitchen chimneypiece: The odd one out. [Images will load slowly]

-------------------

- Vertical Board Partitions

Not unexpected of a heavy timber frame building, in it, most, if not all, of the original interior partition walls are of beaded, tongued and grooved vertical boards. Where plastered, they have laths.

Generally securing the partitions at floor level are nailers. Placed on the long edge opposite the side on which the boards butted is a chamfer.

Chamfered nailers are a common feature of colonial construction.      [Images will load slowly]

-------------------

- Doorways Set In Vertical Board Partition Walls

Some of the doorways in the board partition walls exist without surrounds known as architraves. In this unadorned work, the joinery that finished off the opening is sometimes starkly plain. A more upscale joint, and one requiring additional hand labour, is the mitred and moulded tenon joint. The moulding here, as in colonial times, is the quarter round. [Images will load slowly]

-------------------

- Laths

Other than split boards  found in the plastered ceiling in the Basement, all laths examined to date are machine-made. [Images will load slowly]

Circular-sawn laths did not exist until c. 1815-1820 (if not a bit earlier).

-------------------

- Horizontal Board Wainscotting

A simple wainscotting of horizontal boards, with plastered walls above the chair rail, harps back to an earlier colonial period rather than Georgian. [Image will load slowly]

-------------------

- Chair Rails

Protecting plaster walls, chair rails vary in design throughout the house. [Images will load slowly]

-------------------

- Flooring Boards

In at least two rooms, where the original flooring was of boards one layer thick, splines (loose or slip tongues) was the joinery of choice.  [Image will load slowly]

-------------------

- Door Types

The panelled door is common. Of these, the most interesting type consists of vertical boards: The side stiles, as well as the top, bottom and lock rails, of these four panelled doors are applied on one side to two vertical boards, with the opposite side left plain. The mouldings of the panels are formed as part of the stiles and rails.

These doors were designed for closet use with the panelled side facing into the main room. [Images will load slowly]

-------------------

- Window Style

Throughout the house, a 19th-century style not unknown in the USA stands out: Here the architraves extend to floor level. Between these surrounds, below sill level, detail work may still exist, presently covered over with insert panels. [Images will load slowly]

--------------------------------------------------------------------------------------------------------

Some Examples of Character Defining Building Elements That Require Additional Research

Exterior

- Heavy Timber Frame

Not yet totally understood is the exact structural framing design of the exterior perimeter walls. That would include the use of braces, exposed corner and intermediate posts, and odd jogs.

-------------------

- Wall And Roofing Sheathings

The use of bevelled boards on all the walls of the house is inferred but must be confirmed. Perhaps such sheathing boards also ended up under the original wooden roofing shingles of the house, but were removed during a later upgrade to asphalt shingles. Roofers who may have undertaken this work may still be available who would remember them because of their unusual nature.

-------------------

- Rain Gutters

If used at all, possibly hanging off iron brackets driven into the wall plate, were perhaps V-shaped (two wooden boards nailed together at right angles) - with boxed leaders (square, consisting of four boards). Required is a closer examination of the cornice (or better yet, wall plate) and fascia boards for any evidence of an earlier type.

-------------------

- Exterior Shutters Versus Exterior Storm Windows

Needing removal are the storm windows to determine whether exterior shutters pre-date their use.

-------------------

Interior

-------------------

- The Newel Posts, Balusters And Handrail Of The Main Stairs, And The Guardrail And Handrail Of The Second Floor Are Unmatched

The present staircase is not the original one. [Images will load slowly]

The earlier one was constructed against the same west partition (vertical boards) but as a boxed system with a housed stringer. Here the ends of each tread and riser were installed into recessed stringer routings.     If above the stringer the partition rose as high as the Second Floor, then only the balusters and hand-rail of the guardrail would have been necessary.

To the west, the present staircase re-used this early partition wall but only in support of an exterior open stringer nailed to it.  To the east was another separate stringer, nailed here to a vertical board partition wall in support of a closed system.

The newel post, balusters and handrail for the Main Stairs were installed together with the placement of the present staircase.

The handrail and balusters of the guardrail of the Second Floor were installed possibly with the placement of the first staircase, although evidence of an earlier newel post not associated with this guardrail may exist.

-------------------

- Three Kitchen-To-Second Floor Staircases

Today partially floored with boards is possibly a Second Floor opening for an earlier staircase. Centred upon the present Attic Staircase, its stairs may have at one time continued directly down at a steep angle, into the kitchen.   Later, there appeared a second relatively steep staircase that began in line with, but further north of the existing kitchen one. Its upper section is the present upper portion of the present staircase. [Image will load slowly]

The present staircase is less steep than its predecessor since its lower portion was extended southward. It incorporates the upper portion of the second staircase in its design.

-------------------

- Basement Staircase

The present modern staircase has no defining heritage value. However, the ghost of a former staircase does exist, and requires additional investigation to flesh out its date and details. [Image will load slowly]

-------------------

- Vertical Board Partition Wall Locations And Additional Doorways

There are a number of partitions within the building that did not and/or may not have originally existed where presently found, and with or without their present doorways. Their locations require explanation.

-------------------

- Doors, Door Hardware, Window Hardware, and Location

A closer inspection of all the doors/windows and their removed/replaced/new hardware will no doubt prove enlightening.

-------------------

- Storm Windows

Their date of assembly requires a closer investigation.

-------------------

- Cased Corner Posts, Cased Intermediate Posts, and Odd Wall Jogs

These multiple examples of cased posts, and several odd wall jogs, require further investigation, whether they be or not be decorative and/or functional.

-------------------

- Mortar Content

An answer to the question of whether the original mortar content of the fireplace bases and of the rubble stone of the perimeter foundations is lime- or earth-based is essential.

-------------------

- Original Configuration of The Second Floor Room Now A Bathroom

The 20th-century modification that produced the bathroom has masked an understanding of the original look of the room that it now partially occupies. Determining the room’s initial configuration will thus depend upon resolving a number of issues. Among them: Was there an extended Attic stairwell? Why no fireplace (thus not perhaps a colonial bedroom; perhaps a storage area)? Was there an interior partition(s)? And etc.?

-------------------

- Heating Systems

Fireplaces, their reconfiguration for coal/wood burning with fireplace inserts, and stoves (all seen in the Randall House) were the most practical method to heat a house until about 1916 when the use of home furnaces had just begun to replace them. This is not to say that home furnaces were not installed earlier than 1916.

The initial central heating system in the Randall House was achieved by a hot- or warm-air furnace, which over time, was upgraded. The possible types around this time if the owner wished to renovate an existing multi-storied house were several. For example, initial research suggests the following possibilities for the Randall House: A single-register furnace placed in the Basement that relied on the discharge of warm air into the house through ductless registers placed in the flooring boards, with the cooler air drawn back into the furnace through registers of its own; A vertical duct system rising off the furnace consisting of a single oversized register and cold air returns on each floor; Or the more traditional system, with cold air ducts to the furnace and hot air leaders for smaller registers placed in numerous rooms.

-------------------

- South Ell

The interior partitions re-used some historical boards. Their origin, as well as the origin of the building itself, remains a question for exploration.

--------------------------------------------------------------------------------------------------------

A Long-Term “Strategic Heritage Conservation Plan”
(* Previously Noted In The 1996 Jost Report)

Krause House Info-Research Solutions accepts no responsibility for damages, if any, suffered by any third party as a result of decisions made or actions based on these observations.

The writing and successful implementation of any long-term “Strategic Heritage Conservation Plan” must consider numerous inputs. Here are but a few of them:

- The Interpretative And Maintenance Plan

For the building, and that of the landscape, any “Interpretative and Maintenance Plan” must include the Society's over-all philosophical viewpoint for their respective conservation. This philosophy, I would recommend, be minimal intervention that maximizes retention, the repair of deteriorated features, or its stabilization, and public explanation (through exhibit, guide, handout, publication, etc.) thereof.

This site holds a wealth of character-defining elements (as must be defined in a final “Historical Structural and Architectural Report”, and an “Archaeological Report”). These elements must be conserved whenever possible through a proper maintenance programme that "entails periodic inspection; routine, cyclical, non-destructive cleaning; minor repair and refinishing operations; [and] replacement of damaged or deteriorated materials that are impractical to save." [Parks Canada Standards Guidelines]

The Society must develop written standards for the refinishing and the replacement of character-defining elements such as original soft bricks, paint, plaster, etc. For example, damaged bricks can be repaired, or they can be replaced and if replaced, with what (vintage, salvaged, new, custom-made reproduction)? Paint removal can be limited with a reapplication of protective coatings but with what (historical oil-based, or modern)? Stress repairs using lime- or earth-based or gypsum plaster upon historic materials applied in a traditional manner may seem logical, but would catastrophic failure necessarily mean dry-wall as a replacement? And while a major replacement of an element may seem obvious, a "Dutchman" repair (take out and replace only a part) may actually achieve the same goal.

-------------------

- The Review and Chronicle of Maintenance Records

*Chronicle all maintenance decisions with written and photographic documentation.

-------------------

- The Review Of Other Records

Review past treasury expenditures and the historical record to determine the date and type of earlier repairs or alterations.

-------------------

- A Final Historical Structural and Architectural Report

A final report must identify, to the degree possible, the character defining building elements of the Main House, South Ell and landscape. Prior to its issue, several preliminary reports may be necessary so as to provide some direction as soon as possible.

-------------------

- An Archaeological Report

In the Basement, for example, the modern flooring of crushed stone, with sheet polyethylene beneath  and a path of duck boards above, is no doubt protecting the possibility in the future of an archaeological investigation that could determine the original flooring material (of the formerly finished room in particular), or settle other matters.

On the property, for example, archaeology could provide many useful conclusions, including a determination if an historical rather than modern approach would address current drainage concerns.

-------------------

- *The Issue Of Building Load

*Because the building does not meet current [load] requirements, place limits on the number of people in the building at any one time.

2008 Observations:

In the Basement, nothing suggests that the load upon any area from above is excessive. This would include upon the two fireplace bases, upon the perimeter foundations (bricks and stones), and upon the framing members of the First Floor. Here too, its flooring (ceiling) boards are in good condition, and perhaps are contributing additionally to building stiffness at First Floor level.

On the First Floor, where the ceilings are original, the top casings of windows and doors do not exhibit any evidence of building displacement or slumping when compared to ceiling levels.

On the Second Floor, where the ceilings have been replaced almost entirely, upper window and door frames all appear to be square and level to the ceilings excepting for the south-east room. The question remains however whether the original ceilings would have revealed any displacement.

In the Attic, running between the flooring joists are visible an unusual east-west, perhaps modern, arrangement of wooden members. They are possibly associated with a loose-fill insulation installed upon a plastic sheathing. They might now be playing an added role in a loading equation. When combined with a shelving system designed to distribute storage evenly and restrictively throughout the Attic, here might be a place quite useful to the Museum.

-------------------

- *The Assorted Plumbing Leaks Throughout The House

*Cosmetic reasons only would dictate any action.

-------------------

- The Issue Of Paint

It is essential to take paint samples at assorted locations within and without the house (e.g. walls, ceilings, floors, etc.) to determine the original site-based 19th-century formulas and colours (based on the Munsell colour system).  Match both as closely as possible with modern equivalents.

Within the house, check to see if alligatoring (on doors for example) or paint failure (on walls and floors for example) is a result of natural aging, and exists through all layers. Such inspections may dictate what to do, whether to leave as is, to remove an outer layer(s) while leaving a lower one(s), or to remove all paint layers, sand, prime and repaint.

*Treat the spalling and chipping of existing floor paint as an on-going maintenance requirement that as this paint fails naturally it should be [conservatively removed] and re-painted where necessary. Record the location.

Likewise treat original flaking paint on ceilings, etc. Record the location.

Two coats of an oil-based paint upon a ceiling can serve as a proper vapour barrier where a conservation requirement may be in play. Such may be the case at the Attic Floor level (See “The Issue of Insulation and Venting” section).

-------------------

- The Issue Of Mortar

It is essential to take mortar samples at assorted locations within and without the house (e.g. perimeter rubble stone and brick foundations, basement fireplace bases, walls, ceilings, interior chimney stacks, etc.) to establish the original site-based 19th-century formulas. In particular, determining that of the fireplace bases and of the perimeter foundations, whether lime- or earth-based, is important.

Treat the original mortar finishes as an artifact with an on-going maintenance requirement. When necessary always replace original like with like (for example a lime and sand mortar) and record the location.

The parging of stacks within an unheated attic area is always problematic, particularly in this building where the bricks are extremely soft. Indeed they may now be too soft even for a lime mortar, which, as we know, must never be stronger than the surface to which it adheres. Otherwise, surely suffer the ensuing brick damage. Better, perhaps keep an eye on water from outside (down the sides of a stack and within a flue) and humidity levels within the Attic, and simply monitor the situation "as is".

When a brick deteriorates to a critical point, then its replacement with an appropriate historical one - which unfortunately was not the case in the earlier rebuilding of the stacks, etc. - is best.  It simply must match the existing brick in material, size, color, texture, and finish. As for a removed brick, examples should be retained for exhibit (and purchase of reproductions) purposes.

-------------------

- The 19th-20th Century Environment

Maintain the building's 19th-20th century historical record as much as possible, with exhibits and publications explaining the chronological differences.

-------------------

- The Issue Of Exterior Drainage

An archaeological investigation of the landscape would determine if an historical rather than modern approach would address current drainage concerns.

-------------------

- The Modern Furnace In The Basement

*Insurers now often require liners even for fuel fired devices and chimneys built to current standards require liners. The safety of the building must be maintained but this may be in conflict with preserving the heritage aspects of the property. There are several ways to satisfy both but first it is necessary to identify the insurers' requirements.

2008 Observation:

A steel flue liner has been inserted in the west stack.

When a high efficiency furnace puts out its exhaust into an uncapped or unlined chimney, it is putting out hot air full of moisture and some unburned impurities. This moisture wants to move toward the inner warmer attic instead of the colder temperatures outside of the building. In turn, this will hollow out the centre of bricks, which, if already soft, will occur sooner than later if no liner is in place. In addition, a steel liner should be insulated on its exterior (which is best) and capped at its top (which is best).

-------------------

- The Basement Humidex Ventilation System

The single Basement Humidex Ventilation System has apparently arrested the relative humidity problem. However, its monitoring in all areas of the cellar is necessary on a continual basis to determine if the system as installed remains sufficient.

-------------------

- The Basement Duck Boards

Recommended is the continued use of the duck boards whatever the original reasons for their placement. They restrain visitors from exploring areas of extreme sensitivity; they preserve the modern floor materials of crushed stone and underlying polyethylene sheathing; and, perhaps with barriers, should be extended to wherever the floor is now beginning to show wear and tear owing to the routine maintenance of modern services.

-------------------

- The Main Girt System In The Basement

The present vertical post system that supports the two, excessively long Basement girts appear quite sufficient. However, four additional posts, one at each end of the two girts next to the foundation would perhaps relieve any latent anxiety concerning the affect of the load of the three flooring levels above and the pressure of the roof system.

-------------------

- The Issue Of Soft Bricks

The control of water infiltration (fireplaces, attic stacks) and the maintenance of proper humidity levels (basement, attic) are critical to the long-term longevity of an historical asset suffering from an obvious fragility. Through time, their replacements will depend on the standard which the Society develops with respect to the material, size, color, texture, and finish of chosen bricks.

-------------------

- The Issue Of Cedar Roofing Shingles

According to the Wolfville Historical Society Newsletter (Volume 06:2), June, 2006: The roof boards appear to be in excellent condition. The asphalt shingles have another c. 10 years of life. A cedar shingle replacement is envisioned.

Actually first in use might have been pine (yellow or white) rather than cedar shingles. Clearly their respective appearances would differ (pine would tend to cup, cedar might end up darker), as would their longevity (however, today's cedar (as well today’s pine) isn't as tight-grained, thus as long-lasting as in the past). Seasoned pine, however, is a stronger wood, suffers less in hail or high-wind situations, and in 19th-century New England, if of white pine, known to last on a roof 15-20 years untreated.

- The Issue Of Insulation And Venting

Installed, in the floor of the unheated Attic, is a loose- fill insulation. Placed upon a polyethylene sheathing set between an unusual, perhaps modern, set of east-west “joists,” this “vapour barrier” does not pass over these wooden members as recommended (See “The issue of paint” section).

Also, the Attic should be constantly monitored for excess frost during the winter. If it appears, additional venting may be required.

-------------------

- The Issue Of Wallpaper

From assorted locations within the house recovered have been a variety of samples of wallpaper. Some original examples still remain in place. Their immediate analysis is essential before they are forgotten, lost, destroyed, or they deteriorate.

------------------------------------------------------------------------------------------------------

Conditions Report
Krause House Info-Research Solutions accepts no responsibility for damages, if any, suffered by any third party as a result of decisions made or actions based on these observations.

| Basement |  | First Floor |  | Second Floor |  | Attic Floor |
| --- | --- | --- | --- | --- | --- | --- |

[Images will load slowly]

The Floor Plans Above Provide Most of the Room Designations Listed Below

[Source of Floor Plans: Randall House, Wolfville, Nova Scotia, Conservation Report For the Wolfville Historical Society, By H. Jost (Jost Architects Ltd.), March 1996]

-------------------

MAIN HOUSE

(*Noted previously in the 1996 Jost Report - Included here since the condition may re-appear)

| ELEMENT Common Name/Room Number/Geographic Location | Conservation Observations | Actions Recommended |
| --- | --- | --- |
|  | MAIN HOUSE |  |
| EXTERIOR WALLS |  |  |
| North Facade | *1. Walls, roof eaves, and fascia. | 1. Paint as required. See “The issue of paint” section for a paint recommendation. |
| West Facade | *1. Some clapboards in some areas are no longer tight-fitting, have pulled away from those beneath, and thus are no longer weather-tight. *2. Walls, roof eaves, and fascia. | 1. Re-secure the clapboards. 2. Paint as required. See “The issue of paint” section for a paint recommendation. |
| South Facade | *1. Walls, roof eaves, and fascia. | 1. Paint as required. See “The issue of paint” section for a paint recommendation. |
| East Facade | *1. Some clapboards in some areas (e.g. north-east corner) are no longer tight-fitting, have pulled away from those beneath, and thus are no longer weather-tight. *2. Walls, roof eaves, and fascia. | *1. Re-secure the clapboards. 2. Paint as required. See “The issue of paint” section for a paint recommendation. |
| EXTERIOR FOUNDATION |  |  |
| North Facade | 1. The rendered finish is in good condition. | 1. An analysis of the composition of the rendering is in order for its historical accuracy and for its affect upon the foundation bricks beneath. Even then, pointing rather than rendering would have perhaps been more proper. |
| West Facade | *1. The wall bows horizontally, about 2", towards the centre - and inward at the north end [where] there is a split indicating a horizontal shift of about 1/2" where the foundation may have been mortared at one time - on the exterior, but vertically within the Basement. 2. The sandstone joints are open. 3. The rendered finish over the brick portion is in good condition. | *1. Any inward movement would require shoring on the interior. Monitor its current stability each spring upon opening and each fall upon closing. 2. A proper pointing of the stones is required and would be more historically accurate. 3. An analysis of the composition of the rendering is in order for its historical accuracy and for its affect upon the foundation bricks beneath. Even then, pointing rather than rendering would have perhaps been more proper. |
| South Facade | 1. Required is a further examination. | - |
| East Facade | *1. The wall bows horizontally towards the centre on the exterior, but vertically within the Basement. *2. The south east corner has slumped slightly. 3. The rendered finish is in good condition. | 1. *Any inward movement would require shoring on the interior. Monitor its current stability each spring upon opening and each fall upon closing 2. Monitor its current stability each spring upon opening and each fall upon closing. 3. An analysis of the composition of the rendering is in order for its historical accuracy and for its affect upon the foundation bricks beneath. Even then, pointing rather than rendering would have perhaps been more proper. |
| EXTERIOR ROOF |  |  |
| North Pitch | 1. No conservation concerns. | - |
| South Pitch | 1. No conservation concerns. | - |
| CHIMNEY STACKS |  |  |
| West Chimney | *1. Water is entering the flues and getting into most fireboxes, depositing their moisture, ash, soot, spalling, and brick clay dust. | *1. A long term concern suggesting several solutions including a complete sealing of the chimney cap (This action may however produce condensation). 2008 Recommendation: Monitor immediately whether water is still getting into the flues. If so, remedial action is required as soon as possible. |
| East Chimney | *1. Water is entering the flues and getting into most fireboxes, depositing there moisture, ash, soot, spalling, and brick clay dust. | *1. A long term concern suggesting several solutions including a complete sealing of the chimney cap (This action may however produce condensation). 2008 Recommendation: Monitor immediately whether water is still getting into the flues. If so, remedial action is required as soon as possible. |
| BASEMENT (00 Series) |  |  |
| Room 001 /South East of Stairwell | 1. Dry rot is apparent on the surfaces of the timber crib work of the fireplace base. 2. The west support for the hearth cradle of Room 101 is split. 3. The Cold Tech Cooler/Freezer is producing excessive moisture. 4. The floor opposite the Exterior Basement Stairwell is collecting some moisture. | 1. Monitor its current stability each spring upon opening and each fall upon closing. The wood/masonry matrix appears to be sound without any evidence of any beam failure. 2. Monitor its current stability each spring upon opening and each fall upon closing. 3. Re-locate the cooler/freezer. 4. Monitor within the Exterior Basement Stairwell to determine if natural water seepage after a rain is entering the Basement. |
| Room 001 /South West of Stairwell | 1. Dry rot is apparent on the surfaces of the timber crib work of the fireplace base. 2. Wooden supports for the hearth cradle of Room 108 above are resting on the masonry rather than on a wooden cross beam. *3. The September 1993 remedial action taken to re-support the collapsed hearth of the fireplace of Room 109 above requires some upgrading. | 1. Monitor its current stability each spring upon opening and each fall upon closing. The wood/masonry matrix appears to be sound without any evidence of any beam failure. 2. Monitor its current stability each spring upon opening and each fall upon closing. Perhaps best to insert at least one added “modern” beam from hearth to wooden cross beam. 3. The upgrading occurred in c. 2007. |
| Room 001 /North West of Stairwell | 1. An earlier conservation effort that included netting was taken to preserve the lath and plaster ceiling of the finished room. | 1. Monitor its current stability each spring upon opening and each fall upon closing. |
| Room 001 /North West of Stairwell | 1. The plaster on the south wall is in a state of extreme deterioration. | 1. Introduce the same netting as on the ceiling, or other material, to preserve this area for interpretative purposes. The Duck boards should be left sufficiently far away to discourage touching. |
| BASEMENT STAIRWELL (Central) |  |  |
| - | 1. No conservation concerns. | - |
| EXTERIOR BASEMENT STAIRWELL (South East) |  |  |
| - | 1. No conservation concerns. | - |
| FIRST FLOOR (100 Series) |  |  |
| Room 110 /Front (Main) Hall /North | 1. To the west of the stairwell, next to it, from the newel post to the Room 107, the hardwood flooring (running north-south) has lifted c. along the line of the Basement main girt, which beam is presently jack-supported. | 1. Monitor its current stability each spring upon opening and each fall upon closing. This issue was not mentioned in the 1996 Jost Report . It appears to be related to the re-positioning of one of the steel lally columns in the Basement to beneath this area. This post should be re-examined, followed by some positive action. The south door should not be reset or planed to pass over the bulge. |
| Room 101 /Dining Room /North East | *1. Possible settlement cracks in the south head frames of the doorways leading to Room 102 kitchen and closet beneath the kitchen stairway. 2. An east-west bulge in the original plaster ceiling exists just north of the fireplace. This feature exists at c. the same distance from the fireplace as in room 109. *3. The paint on the floor is peeling, particularly in the south east corner. *4. The west door, which (including the door frame) is paint chipped on this side, to Room 110 is binding at the wind rail. 5. Slight sag in the floor as one approaches Room 102. | 1. Monitor its current stability each spring upon opening and each fall upon closing. 2. Monitor its current stability each spring upon opening and each fall upon closing. *3. An on-going maintenance requirement that as this paint fails naturally it should be re-painted as required. See “The issue of paint” section for a paint recommendation. *4. Reset door, or plane to fit, prior to next painting. 5. Monitor its current stability each spring upon opening and each fall upon closing. |
| Room 102 /Passageway | *1. The flue plug is loose. 2. A slight sag exists in the floor. | 1. Monitor its current stability each spring upon opening and each fall upon closing. 2. Monitor its current stability each spring upon opening and each fall upon closing. |
| Room 103 /Kitchen /South East | *1. The floor has considerable spring since the new flooring joists did not provide proper support. *2. The replaced ceiling has cracks, running north-south. 3. Where once stood the original east wall, a considerable east-west bulge at the south ground sill level exists. *4. Staining within the fireplace suggests that water is leaking down the plugged flue. 5. A slight sag exists in the floor, as one approaches Room 102. 6. The closet in the west wall has an original ceiling. | 1. The proper support was completed in the spring of 2000. 2. Monitor its current stability each spring upon opening and each fall upon closing. 3. Monitor its current stability each spring upon opening and each fall upon closing. 4. See the CHIMNEY STACKS section. 5. Monitor its current stability each spring upon opening and each fall upon closing. 6. Monitor its current stability each spring upon opening and each fall upon closing. |
| Room 107 /Rear Hall /South | 1. No conservation concerns. | - |
| Room 108 /Back Sitting Room (Study) /South West | 1. An east-west bulge at south ground sill level exists, in line with the one in Room 103, with the flooring falling away to the north. | 1. Monitor its current stability each spring upon opening and each fall upon closing. |
| Room 109 /Living (DeWolf Parlour) Room /North West | 1. An east-west bulge in the original plaster ceiling exists just north of the fireplace. This feature exists at c. the same distance from the fireplace as in room 101. | 1. Monitor its current stability each spring upon opening and each fall upon closing. |
| MAIN STAIRWELL (Central) | 1. The handrail of the stairwell is bowed near the top, with a spring to it at that point that has produced a groove in the west stairwell trimmer. 2. The handrail on the guardrail at its north west turn has slightly separated. | 1. Brace the handrail at this point in some unobtrusive, or obviously modern explainable, manner, to prevent further damage. 1. Monitor its stability on a daily basis to see if the separation is stable. |
| KITCHEN STAIRWELL (Central) |  |  |
| - | 1. Treads. | 1. The treads are considerably worn, but appear presently to be in fair repair. Restrict the use of this stairwell, and monitor its current stability each spring upon opening and each fall upon closing. |
| SECOND FLOOR (200 Series) |  |  |
| 200 Series of rooms | *1. Numerous cracks exist in the ceilings, generally running north-south. | 1. Monitor its current stability each spring upon opening and each fall upon closing. |
| Bedroom /Room 201 /North East | *1. Both the plaster and paper of the face of the chimney has suffered old water damage. 2. The bricks within the fireplace are soft. *3. Deterioration [of the soft bricks] within the firebox and chimney opening of the fireplace is occurring. 4. The rendered finish of the fireplace is in good condition. *5. The insert panel beneath the east window displays some displacement. *6. The floors slope away from the chimney on the north and south sides. *7. The ceiling is cracked. 8. The original ceiling in the closet is in excellent condition. | 1. Monitor its current stability each spring upon opening and each fall upon closing. 2. An on-going maintenance concern. See “The issue of mortar” section. 3. See the CHIMNEY STACKS section. 4. An analysis of the composition of the rendering is in order for its historical accuracy and for its affect upon the foundation bricks beneath. 5. Check for moisture. 6. *This displacement may have ended some time ago. This condition is in line with the bulge in the ceiling in room 101 and the flooring in Room 207. Monitor its current stability each spring upon opening and each fall upon closing. 7. Monitor its current stability each spring upon opening and each fall upon closing. 8. Monitor its current stability each spring upon opening and each fall upon closing. |
| Hall /Room 202 | 1. Severe, deep paint alligatoring exists on the door to the Attic Stairwell. *2. Considerable paint alligatoring exists on the door to Room 204. *3.Paint on the north vertical board partition wall is deteriorating. 4. The flooring falls away (slumps) to the south at a point where the north partition of Room 203 ends. Here, to the north of the slump, perhaps once existed a stairwell centred upon the Attic Stairwell. This slump continues into Room 203. | 1. A possible cosmetic issue whether to paint or not to paint. See “The issue of paint” section for a paint recommendation. 2. A possible cosmetic issue whether to paint or not to paint. See “The issue of paint” section for a paint recommendation. 3. A cosmetic issue whether to paint or not to paint. See “The issue of paint” section for a paint recommendation. 4. Monitor its current stability each spring upon opening and each fall upon closing. |
| Bedroom /Room 203 /South East | *1. Water from leaks from the roof of the South Ell has damaged the west wall. *2. Water from leaks from the roof of the South Ell has produced moisture damage along the south window. *3. There is moisture damage along the [east] window. The paper is peeling and the paint is peeling. 4. The slump of Room 202 continues into this room. 5. The closet has an original ceiling. 6. The top casings of the doors and windows suggest some wall displacement - one inch from east to west, but none north to south on the east wall, but 1 inch on the west wall running south to north. This is clearly visible even though the ceilings have been replaced. | 1. Monitor its current stability each spring upon opening and each fall upon closing. 2. Monitor its current stability each spring upon opening and each fall upon closing. 3. Monitor its current stability each spring upon opening and each fall upon closing. 4. Monitor its current stability each spring upon opening and each fall upon closing. 5. Monitor its current stability each spring upon opening and each fall upon closing. 6. Monitor its current stability each spring upon opening and each fall upon closing. |
| Bathroom /Room 204 | *1. A significant north-south crack exists in the ceiling. | 1. Monitor its current stability each spring upon opening and each fall upon closing. |
| Centre Hall (Upstairs) /Room /205 South | 1. No conservation concerns. | - |
| Bedroom (Children's) /Room 206 /South West | 1. The bricks within the fireplace are soft. *2. Significant deterioration exists on the face of the fireplace. *3. Water damage exists in the flue hole of the chimney. *4. The insert panel beneath the west window displays some displacement. 5. Cracking was found in the original ceiling in the closet. | 1. An on-going maintenance concern. See “The issue of mortar” section. 2. An analysis of the composition of the rendering is in order for its historical accuracy and for its affect upon the foundation bricks beneath. 3. See the CHIMNEY STACKS section. 4. Monitor its current stability each spring upon opening and each fall upon closing. 5. Monitor its current stability each spring upon opening and each fall upon closing. |
| Closet /[Connector Room between Rooms 206 and 207] | 1. No obvious conservation concerns. | - |
| Main Bedroom (Patriquin) /Room 207 /North West | *1. A crack in the ceiling runs east-west. *2. Cracks, running north-south exist inside the door to the centre hall. *3. Cracks, running north-south exist over the bed. 4. The bricks within the fireplace are soft. *5. The lintel above the fireplace has slumped. 6. Two metal pins support the metal grating within the fireplace flue opening and some settling of this feature has occurred. 7. The rendered finish of the fireplace has cracked. 8. The fireplace hearth and the flooring to the east and west of it sit higher than the remaining flooring to the north. | 1. Monitor its current stability each spring upon opening and each fall upon closing. 2. Monitor its current stability each spring upon opening and each fall upon closing. 3. Monitor its current stability each spring upon opening and each fall upon closing. 4. An on-going maintenance concern. See “The issue of mortar” section. 5. Monitor next season if this feature is stable. 6. Monitor next season if this feature is stable. 7. An analysis of the composition of the rendering is in order for its historical accuracy and for its affect upon the foundation bricks beneath. 8. This condition is in line with the bulge in the ceiling in room 109 and the flooring in Room 201. Monitor its current stability each spring upon opening and each fall upon closing. This issue was not mentioned in the 1996 Jost Report though it was mentioned for Room 201. |
| Sewing Room /Room 208 /North | 1. No conservation concerns. | - |
| ATTIC STAIRWELL (East) |  |  |
| - | 1. Top tread is cracked. 2. The south face of the chimney, rendered with mortar, is in fair repair. | 1. Repair required. 2. An analysis of the composition of the rendering is in order for its historical accuracy and for its affect upon the foundation bricks beneath. |
| ATTIC (300 Series) |  |  |
| Area 301 /South East | 1. The lower portion of the chimney stack consists of soft, original, crumbling bricks. | 1. An on-going maintenance concern. See “The issue of mortar” section. |
| Area 301 | 1. Three of the south-side ties of the original collar-tied rafters are twisted and have pulled away from their half-dovetail lapped, mortise and tenon connection. | 1. Install a *bracket or *scab to insure a positive connection. |
| Room 302 /South West | 1. The lower portion of the chimney stack consists of soft, original, crumbling bricks. | 1. An on-going maintenance concern. See “The issue of mortar” section. |
| Room 303 /North West | 1. The plaster walls and ceiling are deteriorating in a number of areas. *2. There is non-current water damage on the plaster where it has been applied to the side of the chimney. *3. The floor slopes towards the chimney. | 1. Perhaps introduce the same netting as on the ceiling in the Basement (Room 001 /North West of Stairwell), or other material, to preserve this area for interpretative purposes. 2. Monitor if there is a present stability each spring upon opening and each fall upon closing. 3. Monitor its current stability each spring upon opening and each fall upon closing. |
| Room 300 Series | *1. The loads experienced in the Attic overstressed the plaster ceilings of the Second Floor. | *1. Limit the number of people and display items. See “The Issue Of Building Load” section. |

-------------------

SOUTH ELL

| ELEMENT Common Name/Room Number/Geographic Location | Conservation Observations | Actions Recommended |
| --- | --- | --- |
| EXTERIOR FOUNDATION |  |  |
|  | 1. Conservation concerns. | 1. An investigation should be undertaken. |
| EXTERIOR WALLS |  |  |
| South Facade | *1. Plywood was installed as a finish to the repaired sills at the back. | *1. Remove the plywood and replace it with shingles. |
| EXTERIOR ROOF |  |  |
| East Pitch | *1. There is a lack of clearance between the east pitch of the roof and the south window of Room 203. | *1. Monitor Room 203 and Room 103 each spring upon opening and each fall upon closing for moisture entering the main house. |
| FIRST FLOOR (100 Series) |  |  |
|  | 1. No conservation concerns. | - |
| ATTIC (200 Series) |  |  |
| - | 1. No conservation concerns. | - |

-------------------

NORTH ENTRANCE PORTICO (FRONT PORCH)

| ELEMENT Common Name/Room Number/Geographic Location | Conservation Observations | Actions Recommended |
| --- | --- | --- |
|  | 1. No conservation concerns. | - |

-------------------

LANDSCAPE

| ELEMENT Common Name/Room Number/Geographic Location | Conservation Observations | Actions Recommended |
| --- | --- | --- |
| North Side of House | 1. No conservation concerns. | - |
| West Side of House | 1. No conservation concerns. | - |
| South Side of House | *1. The grade exists higher in many locations than the top of the foundations of the South Ell and the main building. | *1. Lower (minimum 8” vertical clearance of any adjacent wooden feature) and slope the grade, to a distant southern swale, to prevent ground and gutter downspout water from draining back into the building. |
| East Side of House | 1. No conservation concerns. | - |

-------------------

Sources

- Reconnaissance Research Trip to Wolfville, Nova Scotia: Randall House ~ September 24, 2007, By Eric Krause, Krause House Info-Research Solutions

- Research Trip to Wolfville, Nova Scotia: Randall House ~ September 18, 2008 - September 20, 2008, By Eric Krause, Krause House Info-Research Solutions

- Randall House, Wolfville, Nova Scotia, Conservation Report For the Wolfville Historical Society, By H. Jost (Jost Architects Ltd.), March 1996

- Circa 1814 Randall House, Wolfville, N.S., Measured and Drawn by Ronald M Peck (M.R.A.I.C.), April 24-28, May 1, September 6, September 10-September 27, 1984

- Clara Dennis Collection, Old Houses, 1981-541, no. 409, 200800418, "DeWolfe House, Wolfville, NS",  Date: 1930s, Nova Scotia Archives and Records Management - http://www.gov.ns.ca/nsarm/virtual/builtheritage/exhibit.asp?ID=65

- The T.A.S. DeWolf house, built 1817 : DeWolf House parlour : May Rosina (Prat) Starr, first curator - http://wolfvillehs.ednet.ns.ca/historyrh.htm